## Sheet1
Rubtsov MI | NMR-ML Param | NMR-MLSuperclass (isa/partOf) | Bruker Param | Varian Param | Description | ExampleValues (from http://www.metabolomicscentre.ca/nmrML/pure-compound.xml ) | ExampleValues (from http://www.ebi.ac.uk/metabolights/MTBLS1 )--> Spectrum Visualisation use case | Bruker File location | Varian File location
is
dn
date
cf
arraydim
alfa
acqpath
SPARSE
CNrefoc
C13refoc
N15refoc
acqcycles
acqdim
actionid
acqstatus
aig
ampmode
alock
apptype
apptype
array
axisf
awc
at
arrayelemts
awc1
axis
celem
bs
d1
compC
comment
compH
compN
cr1
cr
cp
ct
crf
cutoff
dataProcessed
dataID
dataid
dm2
dfrq3
delta1
dfrq
deltaf
dfrq2
dglp
dg1
dg
dfrq4
dg2
disCmd
dgs
dhp
dlp
displaymode
dm
dmg1
dmf2
dm4
dm3
dmf2
dmf4
dmf3
dmg
dmm3
dmm2
dmm
dmm4
gzsize
dseq4
dres
dof4
dod
dn3
dn2
dn4
dof2
dof
dof3
dpwr
dp
dotflag
dpwr3
dpwr2
dpwr4
dres4
dres3
dres2
dseq2
dseq
dseq3
fpmult
filter
fb
fn1
gfs
gfs
ftproc
fpmult1
gain
gf1
gt2
gmapspin
gfs1
gt1
gzlvl2
gzlvl1
hs
ho
hdpwr
hdmf
gzwin
hdof
hdres
homo4
homo2
homo
homo3
homorof2
homorof1
homorof3
ins2ref
il
hzmm
h
t
ident
ins2ref
ins
in
ins2ref
investigator
intmod
insref
io
investigator
pwClvl
notebook
lsfrq1
lockphase_
lifrq
lcpeak_
lb1
lb
liamp
ldshimdelay
loc_
llfrq
llamp
load
lockgain_
lockfreq_
lpfilt1
lpalg1
lp
lockpower_
lp1
lpext1
lpprint1
lpnupts1
lpopt1
lsfid
lptrace1
lsfrq
n1
method
macro
lvl
math
mix
mfsat
name
n3
n2
ni
phfid1
page
osfb
nt
notebook_
np
operator_
oscoef
p1
oslsfrq
osfilt
oversamp
pad
parversion
paramChanged
page_
parstyle_
phase
phfid
priority
presat
pmode
plt2Darg
processid
procdim
proc
probe_
proc1
processID
pw90
pslabel
protocols
pw
pwC
tpwrsf_d
sslsfrq
rof2
reffrq
r5
r1
pwN
pwNlvl
r3
r2
r4
ref
r6
r7
ref_pw90
ref1
ref_pwr
repflg
refpos1
reffrq2
reffrq1
refpos
refsource1
refpos2
refsource2
rfl1
rfl
rfband
rfp1
rfp
rof1
sc2
satpwr
samplename
1
rp
satdly
samplename_global_
satmode
sbs
sb
saveglobal_
sb1
sc
sbs1
shims
seqfil
scuba
scans
scubad
sf1
sf
sfrq
sp1
solvent
sn
sp
ss
spin
ssfilter
th2d
study
strtext1
ssorder
ssntaps
sspul
strtlp1
sw
study_
studyid_
temp
sw1
th
time_submitted_local
time_processed
time_exp
time_complete
time_plotted
time_saved
time_run
time_submitted
tn
tin
time_svfdate
tlt
tpwr
tof
tpwrsf_a
y1
wnt
vrack_
vf
tpwrsf_u
tpwrsf_n
tpwrsf_i
tpwrsf_t
tunemethod
trace
username
vp
vo
vloc_
vpfi
vpf
vproto_
wc
vtc
vs2d
vs
vsproj
vzone_
vtwait
wbs
werr
wdone
wc2
wf
wexp
wf1
x1
wtfile
wp1
wp
wshim
wtune
wtfile1
xdiag
x3
x2y2
x4
xz
xy
xz2
z3x
z2
yz2
y4
y3
yz
z1
z0_
z1c
z2xy
z2x2y2
z2c
z2x3
z3
z2y3
z3c
z5
z4x
z3y
z3x3
z3x2y2
z3xy
z4
z3y3
z4c
z4xy
z4x2y2
z4y
z7
z5y
z5x
z6
zx2y2
z8
zxy
zx3
zy3